## Slide 1
MAIAC Update
Alexei Lyapustin (PI), Yujie Wang, Sergey Korkin, Sujung Go, Myungje Choi (co-Is)
MAIAC Products
- Atm.: Cloud/Shadow/Snow Mask, AOD, FMF (over water), CWVMODIS, Smoke Plume Injection Height
- Surf.: BRF (M: 0.5, 1km; V: 0.375, 0.75km);
- Surf. Daily Gap-Filled: BRDF, NDVI (1/0.75km); Snow grain size and fraction (1/0.75km); NBARMODIS (0.25km)
- CMG Daily: most of the above + additional VIs
Status
MAIAC MODIS C6.1 re-processing to start shortly;
MAIAC VIIRS is in integration and testing for C2;
We cross-calibrated SNPP and N20 VIIRS to MODIS Aqua for continuity of CDRs – used in MAIAC;
MAIAC VIIRS (MOD C7) features Rotated Sin Projection.

## Slide 2
MAIAC Update
Standard Global Sin
Rotated Sin Projection
We will provide re-projection tools for users.

## Slide 3
Developed new regional aerosol models based on AERONET climatology  improves AOD and AC under smoke and dust conditions;
MAIAC C6 C6.1 C6.1 1km
N 304553 409960 423197
%EE 66% 69.8% 62.7%
R 0.84 0.903 0.888
RMSE 0.12 0.107 0.121
MBE 0.01 0.012 0.022
C6 EE =0.05 0.10.47
MAIAC Algorithm Updates vs C6
21x21 km2 (50% coverage), 0.47µm
R
RMSE
MBE
Courtesy: X. Ye, P. Saide (UCLA)
A single 1km pixel
C6
C6.1
Sept. 2020, Western USA

## Slide 4
MAIAC Algorithm Updates vs C6
Lyapustin A, Zhao F and Wang Y (2021) A Comparison of Multi-Angle Implementation of Atmospheric Correction and MOD09 Daily Surface Reflectance Products From MODIS. Front. Remote Sens. 2:712093. doi: 10.3389/frsen.2021.712093
Improved snow detection;
Aerosol retrievals and AC over high sediment (brown) waters;
Amended RTLS BRDF model to work at high SZA, VZA>60 - important for VIIRS, EPIC, geo … and at high latitudes (in preparation)
Relaxed cloud adjacency analysis  increase in AOD and SR coverage
From Lyapustin et al. (2021): MAIAC C6 has 5-25% more high-quality data than MOD09 annually. This difference will further increase in MAIAC MODIS C6.1 and VIIRS C2;

## Slide 5
VIIRS Cross-Calibration to MODIS Aqua
MAIAC AOD Before X-Cal (Libya 4)
MAIAC AOD After X-Cal
DESIS
SCIAMACHY

## Slide 6
Dome C, Deserts (DCC) This Study
Xiong X, Angal A, Chang T, Chiang K, Lei N, Li Y, Sun J, Twedt K, Wu A. MODIS and VIIRS Calibration and Characterization in Support of Producing Long-Term High-Quality Data Products. Remote Sensing. 2020; 12(19):3167. https://doi.org/10.3390/rs12193167
MAIAC: Appalachian_state