## Slide 1: Harmonization of the calibration of MODIS and VIIRS (SNPP/NOAA-20)
Eric Vermote et al. Code 619/UMD
Aisheng Wu (MCST/VCST SSAI)

## Slide 2: Cross-Calibration over BELMANIP Sites (Terra/Aqua AS6)
Distribution of the BELMANIP2 sites.
Terra vs Aqua (AS6) band 2
Terra vs Aqua (AS6) band 1

## Slide 3: Cross-Calibration over BELMANIP Sites (Terra/Aqua)
Terra vs Aqua (C6.1) band 2
Terra vs Aqua (C6.1) band 1

## Slide 4: VIIRS Cross-Calibration I2/ MODIS Band 2

## Slide 5: Cross-Calibration over BELMANIP Sites (VIIRS/Aqua I2)
SNPP vs Aqua (C6.1) I2 vs band 2
NOAA20 vs Aqua (C6.1) I2 vs band 2

## Slide 6: Cross-Calibration coefficients VIIRS – I2
SNPP-I2
NOAA20-I2
Xcal=1.0121+0.000514x(Year-2018)
Xcal=0.9731+0.000760x(Year-2012)

## Slide 7: Ratio over Deep Convective Clouds (VIIRS I2/I1)
SNPP DCC I2/I1
NOAA20 DCC I2/I1

## Slide 8: Cross Calibration coefficient Deep Convective Clouds (VIIRS I1)
SNPP I1
NOAA20 I1
Xcal=1.0333+0.001299x(Year-2018)
Xcal=0.9948+0.000433x(Year-2012)

## Slide 9: Ratio over Deep Convective Clouds (VIIRS M5/I1)
SNPP DCC M5/I1
NOAA20 DCC M5/I1

## Slide 10: Cross Calibration coefficient Deep Convective Clouds (VIIRS M5)
SNPP M5
NOAA20 M5
Xcal= 1.0201+0.000917x(Year-2018)
Xcal=0.9806+0.000243x(Year-2012)

## Slide 11: Ratio over Deep Convective Clouds (VIIRS M7/I2)
SNPP DCC M7/I2
NOAA20 DCC M7/I2

## Slide 12: Cross Calibration coefficient Deep Convective Clouds (VIIRS M7)
SNPP M7
NOAA20 M7
Xcal=1.0068+0.000814x(Year-2018)
Xcal= 0.9724+0.000862x(Year-2012)

## Slide 13: Ratio over Deep Convective Clouds (VIIRS M7/M5)
SNPP DCC M7/M5
NOAA20 DCC M7/M5

## Slide 14: Cross Calibration coefficient Deep Convective Clouds (VIIRS M7)
SNPP M7
NOAA20 M7
Xcal= 1.0080+0.000834x(Year-2018)
Xcal=0.9723+0.000821x(Year-2012)

## Slide 15: Ratio over Deep Convective Clouds (VIIRS M4/M5)
SNPP DCC M4/M5
NOAA20 DCC M4/M5

## Slide 16: Cross Calibration coefficient Deep Convective Clouds (VIIRS M4)
SNPP M4
NOAA20 M4
Xcal=1.0264+0.001605x(Year-2018)
Xcal=0.9827-0.000125x(Year-2012)

## Slide 17: Ratio over Deep Convective Clouds (VIIRS M3/M4)
SNPP DCC M3/M4
NOAA20 DCC M3/M4

## Slide 18: Cross Calibration coefficient Deep Convective Clouds (VIIRS M3)
SNPP M3
NOAA20 M3
Xcal=1.0260+0.001680x(Year-2018)
Xcal=0.9850-0.000579x(Year-2012)

## Slide 19: Ratio over Deep Convective Clouds (VIIRS M2/M3)
SNPP DCC M2/M3
NOAA20 DCC M2/M3

## Slide 20: Cross Calibration coefficient Deep Convective Clouds (VIIRS M2)
SNPP M2
NOAA20 M2
Xcal=1.0276+0.001683x(Year-2018)
Xcal=0.9799+0.000179x(Year-2012)

## Slide 21: Ratio over Deep Convective Clouds (VIIRS M1/M2)
SNPP DCC M1/M2
NOAA20 DCC M1/M2

## Slide 22: Cross Calibration coefficient Deep Convective Clouds (VIIRS M1)
SNPP M1
NOAA20 M1
Xcal=1.0213+0.001292x(Year-2018)
Xcal=0.9652-0.000235x(Year-2012)

## Slide 23: VIIRS SWIR/NIR spectral Intercalibration over Sunglint (Lake Titicaca)
SNPP
NOAA 20

## Slide 24: Xcal coefficients table summary
M7(I2)* is recommended for use.

## Slide 25: Verification (I1,M5) vs Aqua MODIS band1 (BELMANIP)

## Slide 26: Conclusions
A complete approach for harmonization of sensors across visible, NIR and SWIR has been developed
The approach uses globably distributed representative sites (BELMANIP2), Deep Convective Clouds and Sunglint.
This combination of methods minimize the problem of spectral responses differences between sensors